## Summary (hidden)
MM |  |  | EM |  |  | ER
Monitoring and Metrics |  |  | Event and Request Management |  |  | Emergency Response
Level | Description | What you have | Level | Description | What you have | Level | Description | What you have
1: Initial | At this stage, the service line's approach to monitoring and alerting is ad hoc and reactive. There's no standardized process in place, and incident response is inconsistent. The monitoring setup for the service only covers basic up/down functionality and does not include monitoring for essential components. | Costumers report issues rather than the monitoring tool Significant approach and tooling for monitoring layers of the service no defined and published guidelines in setting up monitoring and alerting No defined and published process setting up monitoring and alerting insufficient coverage of service components lack of a dedicated monitoring tool Learnings are not captured and published | 1: Initial | Processes are unpredictable and reactive. | There is no playbook, or it is outdated and unused. Results are inconsistent. Different people do tasks differently. There is no clear escalation path Processes aren’t documented. Learnings are not captured No policy or standard in effect | 1: Initial | Processes are unpredictable and reactive. | End users Report the outage rather than the monitoring team No on-call rotation No on-call calendar There is no playbook for various alert.
2: Managed | At this level, the focus is on establishing basic policies, procedures, and practices. It's about getting things under control. While basic monitoring with threshold-based alerting for system components has replaced ad hoc methods, incident response remains inconsistent due to an undocumented, manual process. Service at this level also struggles with noise due to insufficient alert optimization. | Standard Docmeted Process for responding to alerts received Alerts are automatically routed to the correct responding team monitoring the availability of the service deployment guides for this service that include monitoring setup Defined and documented the process of alerts received Threshold defined and documented for alerting a dashboard that shows Service Availability actual rule creation is documented rule creation process is documented | 2: Managed | Processes are reactive but follow a pattern | Alert, Ticket, Log classification There is a finite list of which services are supported by the team. Each end-to-end process has each step enumerated, with dependencies. Different people do the tasks the same way. The flow of events or requests is clearly seen | 2: Managed | Processes are reactive but follow a pattern | Direct Notification from the Monitoring System to the responsible team on-call schedule with an escalation plan full on-call coverage SLA is defined on-call covers different timezone post morterm are writen ocassionaly post morterm template exsits
3. Defined | At this level, the organization standardizes processes across serviceline, establishing a consistent approach to monitoring and metrics. The service line has a clearly defined and documented incident response process. Performance and availability metrics are visible and monitored consistently across the stack. | Standardized monitoring tool across service lines. monitoring tools (checkmk and Appd) The monitoring tool is capable of measuring SLO, SLI, KPI KPI, SLI, and SLO defined The team is proficient in writing effective Rules and Alerts Golden signals are defined and measured | 3. Defined | Processes are proactive and standardized. | SLA is defined for the majority of events and request handling QA methodology is established for Events and Request Handling The mechanism for process change is established and accepted Regular Review and optimization of processes are in place There is a periodic review of alerts by the affected team. There is a periodic review of alerts by a cross-functional team. | 3. Defined | Processes are proactive and standardized. | outage classification SLA is actively measured SLA is defined for every step of a major incident consistent post-mortem analysis
4: Quantitatively Managed | This stage focuses on controlling processes through statistical methods and making data-driven decisions. The Service line has well-defined Service level objectives and key performance indicators. Decisions and processes are data-driven, with the goal of automating repetitive tasks. | Mature deployment\decommisioining of monitoring and metrics in line with service lifecycle Signals are up to date The health and freshness of the data is monitored Team is proficient in writing own dashboards to monitor the service Routine alert calibration is exercised capacity of the monitoring system is monitored KPI is measured in the minutes KPI , and SLO are enforced | 4: Quantitatively Managed | Processes are measured and controlled. | The defined SLA for request and event handling is measured. Feedback mechanisms for request and event steps are established There is a periodic review of defects and reworks. Dashboards or report data that actively measure WW, WIP and WC After process changes are made, before/after data are compared to determine success. Process changes are reverted if before/after data shows no improvement. Process changes come from a variety of sources. (code or no-code Automation) | 4: Quantitatively Managed | Processes are measured and controlled. | on-call is managed and controlled on-call information is available to the organization Postmortem review has defined SLA is enforced Recommendations for post-mortem action are reviewed, triaged, and implemented SLA is actively measured and enforced
5: Optimized | Focus on process improvement. | review of process as continus improvement service deployment with monitoring is contatnty reviewd | 5: Optimized | Continuous process improvement. | Cycle time enjoys month-over-month improvements. Active work to minimize human toil | 5: Optimized | Continuous process improvement. | Stress testing and failover are done regularly GameDay exercises are done and practiced periodically Mature monitoring (SLI, SLO, SLA, Comprehensive monitoring) Monitoring in place to enforce regular failover to systems Experiments and Optimization performed to improve SLA
Monitoring and Metrics covers collecting and using data to make decisions. Monitoring collects data about a system. Metrics uses that data to measure a quantifiable component of performance. This includes technical metrics such as bandwidth, speed, or latency; derived metrics such as ratios, sums, averages, and percentiles; and business goals such as the efficient use of resources or compliance with an SLA. |  |  | Event and Request Management include how normal, nonemergency, operational duties are handled—how work is received, queued, distributed, processed, and verified, plus how periodic tasks are scheduled and performed. All services have some normal scheduled or unscheduled work that needs to be done. |  |  | Emergency Response covers how outages and disasters are handled. This includes engineering resilient systems that prevent outages plus technical and nontechnical processes performed during and after outages (response and remediation).
Level 1 |  |  |  | Level 1: Initial |  | Level 1: Initial
Is your monitoring setup based more on reacting to issues as they happen rather than preventing them?
Do you find that the way you monitor your services differs significantly between teams or projects? |  |  |  | Are there defined procedures for handling service events? |  | How are outages typically identified for your service layer? Are they primarily reported by end users?
Do individuals or teams often create their own methods for monitoring without a centralized guideline or policy? |  |  |  | Does tickets have consistent outcomes no matter who handles it? |  | What percentage of outages are discovered through customer/user reports?
Are decisions about what and how to monitor left to individual discretion without formalized criteria? |  |  |  | How many types of ticket alerts (as you estimate in percentage) depend on engineer knowledge or expertise? |  | Is there a predefined schedule or rotation for staff to handle emergencies outside of normal working hours?
Do you often encounter surprises or unforeseen issues that significant impact service due to insufficient monitoring? |  |  |  | Do you find that necessary tools or information are often not available when responding to service events? |  | Do you maintain a consolidated calendar for tracking the on-call responsibilities for this service?
Is there a lack of dedicated tools for monitoring, leading to the use of makeshift or manual methods?* |  |  |  | Is the escalation clearly defined for complex service events? Or you find yourself guessing who to reach out to?
How frequently do service outages or degradation occur without prior alerting? |  |  |  | Are the quality of close notes and close codes regularly reviewed for future occurance? |  | Level 2: Repeatable
Do you have any formal process for reviewing and improving your monitoring strategies based on past incidents? |  |  |  | Are new members and existing members onboarded to the event management Policy regurally?
Do you have specific playbooks or procedures designed for managing outages?
|  |  |  | Level 2: Repeatable |  | Can you estimate the number of distinct playbooks that are utilized for handling different types of outages?
Level 2 | [5 empty] | How does your monitoring system alert the appropriate team when an outage occurs?
Is there a standard documented process for monitoring and alerting this layer of the service? |  |  |  | is there a process in place that allows prioritization of requests and events? |  | Is there a formal escalation protocol for incidents that cannot be resolved within standard time frames?
Do you monitor the availability of this layer of service? |  |  |  | Can the team member enumerate what are all the events and request for the service |  | 5. How do you ensure comprehensive on-call coverage, including considerations for different time zones?
Are there documented deployment guides for this service that include monitoring setup to ensure monitoring is consistently in place? |  |  |  | How long does it typically take to complete common tasks or alert response, and can this be predicted?
Is there a defined documented process for an alert that you received? |  |  |  | Do you get consistent results regardless of the person responding for service delivery at this layer? |  | Level 3: Defined
Is the monitoring system alert the right responsible team correctly?
Are the thresholds for alerting on this service defined and documented? | [5 empty] | How are incidents categorized and ranked in terms of severity on this service layer?
Do you have dashboards that show service availability? | [5 empty] | Has a Service Level Agreement (SLA) been established for the response times to incidents?
Is there a documented process for Alert rule creation? |  |  |  | Level 3: Defined |  | Are these SLAs regularly evaluated to ensure they are being met?
Do you carry out and document post-mortem reviews using a standardized format or template?
Level 3 |  |  |  | Are these end-to-end processes documented? |  | 5. Is the process for conducting and learning from post-mortem analyses consistent and repeatable?
Do you have standard or specialized monitoring tools? |  |  |  | Can your team enumerate all the processes performed for the service at this level, even at a high level?
Is the monitoring system responsible for the metrics for this service monitored? |  |  |  | Do these processes identified above have a runbook published? |  | Level 4: Managed
Are business Key Performance Indicators (KPIs) for this service established? |  |  |  | How often are these runbooks reviewed?
Are service levels measured for this service, and is there a system for tracking them? |  |  |  | Is there a defined end-to-end process for each service delivery, with clear step enumeration and dependencies? |  | How often are GameDay exercises or similar outage simulations conducted to test your systems?
Is the team proficient enough to write effective rules in monitoring? |  |  |  | Is a Quality Assurance (QA) methodology established for handling events and requests? |  | Do you have measures in place to automatically redirect workloads in case of a system failure (failover systems)?
Have you identified it, and are you monitoring Golden Signals? |  |  |  | How is the process for change managed and documented? |  | How regularly do you perform stress testing or implement failover protocols to ensure system robustness?
How is the on-call management process documented and communicated within the organization?
|  |  |  | Level 4: Managed |  | 5. Are there specific SLAs defined for each critical step in your incident management process, and how do you enforce them?
Level 4 | [5 empty] | 6. How actively do you measure and enforce Service Level Objectives (SLOs) and Service Level Indicators (SLIs)?
As this service goes through its lifecycle and deployment/decommission, are systems manually added to the monitoring system? |  |  |  | How is the performance of repetitive tasks managed and measured? |  | 7. What is the procedure for reviewing, prioritizing, and actioning recommendations from post-mortem analyses?
Are Service Level Objectives (SLOs) clearly defined for the service? |  |  |  | Do you have dashboards or reports that actively measure work in progress (WIP) and other key performance indicators?
How do you ensure the freshness of data in your monitoring system? |  |  |  | Are your processes proactive and standardized across the service? |  | Level 5: Optimized
Is there a process for alert calibration, and is it being exercised? |  |  |  | Do you have defined Service Level Agreements (SLAs) for request and event handling that are actively measured?
Are the capacity and performance of the monitoring system measured? | [5 empty] | Do you regularly undertake specific experiments or initiatives aimed at improving your SLAs?
Is the team proficent enough to create their own dashboards for the service
Are Key Performance Indicators (KPIs) measured to a minute or less granularity? |  |  |  | Level 5: Optimized |  | What techniques or approaches do you employ for conducting optimizations or experiments to refine your SLAs?
Level 5 |  |  |  | Is your service engaged in continuous process improvement?
Do you review the process as a continuous improvement in service monitoring and creation? |  |  |  | Do improvements come from various sources, including code or process automation?
How is the verification of freshness of metrics and service levels implemented? |  |  |  | Are there mechanisms in place for monitoring and implementing month-over-month improvements?

## Summary Final
MM |  |  | Questions: | EM |  |  | Questions | ER |  |  | Questions
Monitoring and Metrics |  |  |  | Event and Request Management |  |  |  | Emergency Response
Level | Description | What you have |  | Level | Description | What you have |  | Level | Description | What you have
1: Initial | At this stage, the service line's approach to monitoring and alerting is ad hoc and reactive. There's no standardized process in place, and incident response is inconsistent. The monitoring setup for the service only covers basic up/down functionality and does not include monitoring for essential components. | Costumers report issues rather than the monitoring tool Significant approach and tooling for monitoring layers of the service no defined and published guidelines in setting up monitoring and alerting No defined and published process setting up monitoring and alerting insufficient coverage of service components lack of a dedicated monitoring tool | How are issues for the service identified? With the current tools and know-how the team has, how difficult is it to monitor the service? Do you follow a guideline on how you identify what to Monitor in a service? Do you have a published process on how to set up monitoring? Are all the components of this service monitored? | 1: Initial | Processes are unpredictable and reactive. | There is no playbook, or it is outdated and unused. Results are inconsistent. Different people do tasks differently. There is no clear escalation path Processes aren’t documented. Learnings are not captured No policy or standard in effect | Are there defined procedures for handling service events? Do tickets have consistent outcomes no matter who handles them? How many types of ticket alerts (as you estimate in percentage) depend on engineer knowledge or expertise? Do you find that necessary tools or information are often not available when responding to service events? Is the escalation clearly defined for complex service events? Or do you find yourself guessing who to contact? Are new members and existing members onboarded to the event management Policy regurally? | 1: Initial | Processes are unpredictable and reactive. | End users Report the outage rather than the monitoring team No on-call rotation No on-call calendar There is no playbook for various alert. | How are outages typically identified for your service layer? Are they primarily reported by end users? What percentage of outages are discovered through customer/user reports? Is there a predefined schedule or rotation for staff to handle emergencies outside of normal working hours? Do you maintain a consolidated calendar for tracking the on-call responsibilities for this service?
2: Managed | At this level, the focus is on establishing basic policies, procedures, and practices. It's about getting things under control. | Standard Documented Process for responding to alerts received Alerts are automatically routed to the correct responding team monitoring the availability of the service Process in place to capture gaps in monitoring Service Design Documents that include the monitoring of the service deployment guides for this service that include monitoring setup Threshold defined and documented for alerting actual rule creation is documented rule creation process is documented | Are there alerts received have a documented response procedure Is the right group notified when this service has an alert is there a documented guide to deploy monitoring for the service Is the threshold for this service defined and documented Is the health rule creation documented and standardized for this service is there a established process in selecting health rules Does this service have an ADB or runbook, and does it include monitoring? | 2: Managed | Processes are reactive but follow a pattern | The Requests and alerts for the service are classified There is a finite list of which services are supported by the team. Each end-to-end process has each step enumerated, with dependencies. The flow of events or requests is seen Handling unsupported requests is documented Handling undefined alerts is documented | is there a process in place that allows prioritization of requests and events? Can the team member enumerate what are all the events and requests for the service? How long does it typically take to complete common tasks or alert responses, and can this be predicted? do you know what to do when there is an unsupported request for the service do you know what to do when there is an undefined alert received on the service Do you get consistent results regardless of the person responding for service delivery at this layer? | 2: Managed | Processes are reactive but follow a pattern | Outage classification and Prioritization Direct Notification from the Monitoring System to the responsible team on-call schedule with an escalation plan full on-call coverage on-call information is available to the organization Escalation is defined on-call covers different timezone post morterm template exsits | Do you have specific playbooks or procedures designed for managing outages for this service? How does your monitoring system alert the appropriate team when an outage occurs? Is there a formal escalation protocol for incidents that cannot be resolved within standard time frames? How do you ensure comprehensive on-call coverage, including considerations for different time zones? Are postmortem produced after a service outage?
3. Defined | At this level, the organization standardizes processes across serviceline, establishing a consistent approach to monitoring and metrics. The service line has a clearly defined and documented incident response process. | Standardized monitoring tool across. The team is proficient in writing effective Rules and Alerts Monitoring is automatically handled as this service goes through its deployment/decommission. | Is your monitoring of this service standard across other regions? Can the team responsible for this service write health rules and notifications? Is there an exercise in place to identify gaps in monitoring? | 3. Defined | Processes are proactive and standardized. | QA methodology is established for Events and Request Handling The mechanism for process change is established and accepted Regular Review and optimization of processes are in place There is a periodic review of alerts by the affected team. There is a periodic review of alerts by a cross-functional team. | Are these end-to-end processes documented for most of the processes and events? Are the quality of close notes and close codes regularly reviewed for future occurrences? Is a Quality Assurance (QA) methodology established for handling events and requests? | 3. Defined | Processes are proactive and standardized. | on-call is managed and controlled postmortem is written and recommendations are followed up | How are incidents categorized and ranked in terms of severity on this service layer? Do you carry out and document post-mortem reviews using a standardized format or template? Is the process for conducting and learning from post-mortem analyses consistent and repeatable?
4: Quantitatively Managed | This stage focuses on controlling processes through statistical methods and making data-driven decisions. The Service line has well-defined Service level objectives and key performance indicators. Decisions and processes are data-driven, with the goal of automating repetitive tasks. | Capacity review for the service KPI, SLO, and SLI are defined and measured for the service Alert Calibration Activities Automated Alert | Is the health of the monitoring system monitored? Is the team able to setup dashboards for the effective monitoring of the service? Are there alert trending activities performed for the service? | 4: Quantitatively Managed | Processes are measured and controlled. | SLA, SLI, KPI are defined and measured The defined SLA for request and event handling is measured. Feedback mechanisms for request and event steps are established There is a periodic review of defects and reworks. Dashboards or report data that actively measure WW, WIP and WC After process changes are made, before/after data are compared to determine success. | Are the KPI, SLI, and SLA defined for this service? Are these indicators measured? Do you know what to do when you find a fundamental defect in how this service is delivered? Does your team perform quality reviews on requests or tickets? Do you have dashboards or reports that actively measure work in progress (WIP) and other key performance indicators? when you change the process for this service, do you measure the impact? | 4: Quantitatively Managed | Processes are measured and controlled. | SLA is actively measured SLA is defined for every step of a major incident Postmortem review has defined SLA and measured Recommendations for post-mortem action are reviewed, triaged, and implemented Mature monitoring (SLI, SLO, SLA, Comprehensive monitoring) Stress testing and failover are done regularly GameDay exercises are done and practiced periodically Monitoring in place to enforce regular failover to systems | How often are GameDay exercises or similar outage simulations conducted to test your systems? Do you have measures in place to automatically redirect workloads in case of a system failure (failover systems)? How regularly do you perform stress testing or implement failover protocols to ensure system robustness? How is the on-call management process documented and communicated within the organization? Are there specific SLAs defined for each critical step in your incident management process, and how do you enforce them? How actively do you measure and enforce Service Level Objectives (SLOs) and Service Level Indicators (SLIs)?What is the procedure for reviewing, prioritizing, and actioning recommendations from post-mortem analyses?
5: Optimized | Focus on process improvement. | Service Trend Reports for improvement KPI trend analysis for imporvement Automated Remediation of Common Alerts | Is there a service Trend reports for the service is there a referral KPI trend Analysis for the service | 5: Optimized | Continuous process improvement. | Cycle time enjoys month-over-month improvements. Active work to minimize human toil Process improvements come from a variety of sources. (code or no-code Automation) | do you have any mechanism in place that deals with continuous process improvement for monitoring this service? Are there mechanisms to promote improvements through code or process automation? Are there mechanisms in place for monitoring and implementing month-over-month improvements? | 5: Optimized | Continuous process improvement. | Experiments and Optimization performed to improve SLA | Do you regularly undertake specific experiments or initiatives aimed at improving your SLAs in emergency response?
Monitoring and Metrics covers collecting and using data to make decisions. Monitoring collects data about a system. Metrics uses that data to measure a quantifiable component of performance. This includes technical metrics such as bandwidth, speed, or latency; derived metrics such as ratios, sums, averages, and percentiles; and business goals such as the efficient use of resources or compliance with an SLA. |  |  |  | Event and Request Management include how normal, nonemergency, operational duties are handled—how work is received, queued, distributed, processed, and verified, plus how periodic tasks are scheduled and performed. All services have some normal scheduled or unscheduled work that needs to be done. |  |  |  | Emergency Response covers how outages and disasters are handled. This includes engineering resilient systems that prevent outages plus technical and nontechnical processes performed during and after outages (response and remediation).

## Wintel Services
Component | Priority | Target Date
Windows Server Operation | High | 2024-05-31 | Covers Assessment to Improvements
Citrix Operations | High | 2024-05-31
Vmware Operations | High | TBC
Active Directory | Medium | TBC
DNS | Medium | TBC
MS Clustering Services | Medium | TBC
MS Exchange Hybrid | Medium | TBC
Certificate Services | Medium | TBC
DHCP | Low | TBC
MS Office 365 | Low | TBC
KMS | Low | TBC
DFS | Low | TBC
File Services | Low | TBC
IIS | Low | TBC
Hyper V | Low | TBC
OKTA Operations | Low | TBC
Mimecast Operations | Low | TBC
Ivanti | Low | TBC
Microsoft Terminal Service | Low | TBC
Domain Time | Low | TBC

## Sample MM (2) (hidden)
Service: Windows Server OS Operations
Level 1
Is your monitoring setup based more on reacting to issues as they happen rather than preventing them? | some issues are caught before impact
Do you find that the way you monitor your services differs significantly between teams or projects? | not at all
Do individuals or teams often create their own methods for monitoring without a centralized guideline or policy? | clear policy on what needs to be monitored is needed
Are decisions about what and how to monitor left to individual discretion without formalized criteria? | yes at this point
Do you often encounter surprises or unforeseen issues that significant impact service due to insufficient monitoring? | seldom but it happens
Is there a lack of dedicated tools for monitoring, leading to the use of makeshift or manual methods?* | not at all
How frequently do service outages or degradation occur without prior alerting? | Seldom
Do you have any formal process for reviewing and improving your monitoring strategies based on past incidents? | Yes
Level 2
Is there a standard documented process for monitoring and alerting this layer of the service? | Yes
Do you consitently monitor the availability of this layer of service? | Yes, but not all gold and platinum apps
Are there documented deployment guides for this service that include monitoring setup to ensure monitoring is consistently in place? | Yes, Manual Checks
Is there a defined documented process for an alert that you received? | not All
Is the monitoring system alert the right responsible team correctly? | Yes
Are the thresholds for alerting on this service defined and documented? | health rules are set but not documented
Do you have dashboards that show service availability? | per service no
Is there a documented process for Alert rule creation and is it being used | Yes
Level 3
Do you have standard or specialized monitoring tools? | yes
Is the monitoring system responsible for the metrics for this service monitored? | yes
As this service goes through its lifecycle and deployment/decommission, are systems manually added to the monitoring system? | no
Are service levels measured for this service, and is there a system for tracking them? | no
Is the team proficient enough to write effective rules in monitoring? | no
Have you identified it, and are you monitoring Golden Signals? | no
Level 4
Are business Key Performance Indicators (KPIs) for this service established?
As this service goes through its lifecycle and deployment/decommission, are systems manually added to the monitoring system? | no
Are Service Level Objectives (SLOs) clearly defined for the service? | no
How do you ensure the freshness of data in your monitoring system? | not yet established
Is there a process for alert calibration, and is it being exercised? | no
Are the capacity and performance of the monitoring system measured? | no
is the team proficient enough to setup dashboards for the service they are responsible? | not yet established
Are Key Performance Indicators (KPIs) measured to a minute or less granularity? | not yet established
Level 5
Do you review the process as a continuous improvement in service monitoring and creation? | no
How is the verification of freshness of metrics and service levels implemented? | no

## Sample EM (2) (hidden)
Event Management
Service: Windows Server OS Operations
Level 1: Initial
Are there defined procedures for handling service events? | not all
Does tickets have consistent outcomes no matter who handles it? | not all easy tickets have consitent results. Novel and undocumented tickets vary in outcome
How many types of ticket alerts (as you estimate in percentage) depend on engineer knowledge or expertise? | there is about 20% of tickets base on engineers knowlage
Do you find that necessary tools or information are often not available when responding to service events? | yes
Is the escalation clearly defined for complex service events? Or you find yourself guessing who to reach out to? | for complex issues, guessing who to reach out to
Are the quality of close notes and close codes regularly reviewed for future occurance? | not all
Are new members and existing members onboarded to the event management Policy regurally? | not all
Level 2: Repeatable
is there a process in place that allows prioritization of requests and events? | yes
Can the team member enumerate what are all the events and request for the service | yes, for the most part
How long does it typically take to complete common tasks or alert response, and can this be predicted? | for general alerts, 15 min, for complex 30
Do you get consistent results regardless of the person responding for service delivery at this layer? | not all easy tickets have consitent results. Novel and undocumented tickets vary in outcome
Level 3: Defined
Are these end-to-end processes documented? | not all
Can your team enumerate all the processes performed for the service at this level, even at a high level? | not all
Do these processes identified above have a runbook published? | not at all
How often are these runbooks reviewed? | not often
Is there a defined end-to-end process for each service delivery, with clear step enumeration and dependencies? | not all
Is a Quality Assurance (QA) methodology established for handling events and requests? | not at all
How is the process for change managed and documented? | yes, they are documented
Level 4: Managed
How is the performance of repetitive tasks managed and measured? | not at all
Do you have dashboards or reports that actively measure work in progress (WIP) and other key performance indicators? | Yes
Are your processes proactive and standardized across the service? | for some part yes
Do you have defined Service Level Agreements (SLAs) for request and event handling that are actively measured? | not at this poinnt
Level 5: Optimized
Is your service engaged in continuous process improvement? | not at this point
Do improvements come from various sources, including code or process automation? | not at this point
Are there mechanisms in place for monitoring and implementing month-over-month improvements? | not at this point

## Sample MM (hidden)
Monitoring and Metrics
Service: Windows Server: ICAP TMS
" Monitoring and Metrics covers collecting and using data to make decisions. Monitoring collects data about a system. Metrics uses that data to measure a quantifiable component of performance. This includes technical metrics such as bandwidth, speed, or latency; derived metrics such as ratios, sums, averages, and percentiles; and business goals such as the efficient use of resources or compliance with an SLA."
Level 1
Is your monitoring setup based more on reacting to issues as they happen rather than preventing them? | Some alerts are caught before our customers report the issues
Do you find that the way you monitor your services differs significantly between teams or projects? | no
Do individuals or teams often create their own methods for monitoring without a centralized guideline or policy? | yes
Are decisions about what and how to monitor left to individual discretion without formalized criteria? | Yes
Do you often encounter surprises or unforeseen issues that significant impact service due to insufficient monitoring? | no
Is there a lack of dedicated tools for monitoring, leading to the use of makeshift or manual methods?* | no
How frequently do service outages or degradation occur without prior alerting? | low
Do you have any formal process for reviewing and improving your monitoring strategies based on past incidents? | Yes
Level 2
Is there a standard documented process for monitoring and alerting this layer of the service? | no
Do you monitor the availability of this layer of service? | yes
Are there documented deployment guides for this service that include monitoring setup to ensure monitoring is consistently in place? | no
Is there a defined documented process for an alert that you received? | no
Is the monitoring system alert the right responsible team correctly? | yes
Are the thresholds for alerting on this service defined and documented? | no
Do you have dashboards that show service availability? | yes
Is there a documented process for Alert rule creation? | no
Level 3
Do you have standard or specialized monitoring tools? | yes
Is the monitoring system responsible for the metrics for this service monitored? | yes
Are business Key Performance Indicators (KPIs) for this service established? | no
Are service levels measured for this service, and is there a system for tracking them? | no
Is the team proficient enough to write effective rules in monitoring? | no
Have you identified it, and are you monitoring Golden Signals? | no
Level 4
As this service goes through its lifecycle and deployment/decommission, are systems manually added to the monitoring system? | yes
Are Service Level Objectives (SLOs) clearly defined for the service? | no
How do you ensure the freshness of data in your monitoring system? | we rely on the monitoring tool
Is there a process for alert calibration, and is it being exercised? | no
Are the capacity and performance of the monitoring system measured? | no
Are Key Performance Indicators (KPIs) measured to a minute or less granularity? | depends on the monitoring tool
Level 5
Do you review the process as a continuous improvement in service monitoring and creation? | no
How is the verification of freshness of metrics and service levels implemented? | no

## Sample EM (hidden)
Event Management
Service: Windows Server: ICAP TMS
Level 1: Initial
Are there defined procedures for handling service events?
Does tickets have consistent outcomes no matter who handles it?
How many types of ticket alerts (as you estimate in percentage) depend on engineer knowledge or expertise?
Do you find that necessary tools or information are often not available when responding to service events?
Is the escalation clearly defined for complex service events? Or you find yourself guessing who to reach out to?
Are the quality of close notes and close codes regularly reviewed for future occurance?
Are new members and existing members onboarded to the event management Policy regurally?
Level 2: Repeatable
Are there processes in place for events and requests to be prioritized
When service request and alerts are reported, are systems in place to enable prompt response?
How long does it typically take to complete common tasks or alert response, and can this be predicted?
Do you get consistent results regardless of the person responding for service delivery at this layer?
Level 3: Defined
Are these end-to-end processes documented?
Can your team enumerate all the processes performed for the service at this level, even at a high level?
Do these processes identified above have a runbook published?
How often are these runbooks reviewed?
Is there a defined end-to-end process for each service delivery, with clear step enumeration and dependencies?
Is a Quality Assurance (QA) methodology established for handling events and requests?
How is the process for change managed and documented?
Level 4: Managed
How is the performance of repetitive tasks managed and measured?
Do you have dashboards or reports that actively measure work in progress (WIP) and other key performance indicators?
Are your processes proactive and standardized across the service?
Do you have defined Service Level Agreements (SLAs) for request and event handling that are actively measured?
Level 5: Optimized
Is your service engaged in continuous process improvement?
Do improvements come from various sources, including code or process automation?
Are there mechanisms in place for monitoring and implementing month-over-month improvements?

## Sample ER (hidden)
Emergency Response
Service: Windows Server: ICAP TMS
Level 1: Initial
How are outages and emergencies currently reported for your layer of this service | reported by the application Owner
How much, in terms of percentage, are outages reported by the customer/User for your layer of this service? | 80% (Guestimmate as these are not beig tracked)
Is there an established on-call rotation for responding to emergencies on this layer? | Yes
Do you have a centralized calendar for on-call schedules for this service layer? | No
Level 2: Repeatable
Are there any standard playbooks or procedures for responding to outages? | Not Documented
How do you quantify the number of these playbooks that deal with outages? | None that I can think of
How does the monitoring system notify the responsible team during an outage? | Automated tickets
Is there an escalation plan for incidents that need to be resolved promptly? | Yes
Do you have full on-call coverage, and how is it scheduled across different time zones? | Yes
Level 3: Defined
Are incidents classified and prioritized for on this layer of the service | Yes
Is there a Service Level Agreement (SLA) defined for incident response? | Not at this moment
Are SLAs actively measured? | Not consistently
Are post-mortem analyses conducted for failure at this layer of the service, and is there a template or standard format for these? | None that I can think of
Is there a consistent process for conducting post-mortem analyses following incidents? | Ocassinaly
Level 4: Managed
Are GameDay exercises for outage drills drills practiced periodically? | Not at this moment
Is there a system for monitoring and ensuring regular failover to systems? | Yes
How frequently are stress tests and failover procedures conducted? | Reguraly
How is on-call management handled, and is this information accessible to the entire organization? | Yes
Are there defined SLAs for each step of incident management, and how are they enforced? | Not at this moment
Are SLA SLO, and SLI actively enforced | Not at this moment
After a post-mortem analysis, how are recommendations for improvement reviewed, triaged, and implemented? | They are being included in the general problem management
Level 5: Optimized
Are experiments and optimizations routinely conducted to improve SLAs? | Not at this moment
What methods are used for conducting experiments and optimizations to improve SLAs? | Not at this moment

## Sample ER (2) (hidden)
Emergency Response
Service: Windows Server OS Operations
Level 1: Initial
How are outages typically identified for your service layer? Are they primarily reported by end users? | Mix of alerts and app owners notifying of an issue
What percentage of outages are discovered through customer/user reports? | 50/50 as a guestimate
Is there a predefined schedule or rotation for staff to handle emergencies outside of normal working hours? | Yes
Do you maintain a consolidated calendar for tracking the on-call responsibilities for this service? | Yes
Level 2: Repeatable
Do you have specific playbooks or procedures designed for managing outages? | Not right now
Can you estimate the number of distinct playbooks that are utilized for handling different types of outages? | Nothing is defind for server down right now
How does your monitoring system alert the appropriate team when an outage occurs? | via servicenow ticket
Is there a formal escalation protocol for incidents that cannot be resolved within standard time frames? | not at this point
How do you ensure comprehensive on-call coverage, including considerations for different time zones? | Yes
Level 3: Defined
How are incidents categorized and ranked in terms of severity on this service layer? | automatically via servicenow
Has a Service Level Agreement (SLA) been established for the response times to incidents? | not at this point
Are these SLAs regularly evaluated to ensure they are being met? | not at this point
Do you carry out and document post-mortem reviews using a standardized format or template? | Yes
Is the process for conducting and learning from post-mortem analyses consistent and repeatable? | for the most part
Level 4: Managed
How often are GameDay exercises or similar outage simulations conducted to test your systems? | Not at this point
Do you have measures in place to automatically redirect workloads in case of a system failure (failover systems)? | per top level service
How regularly do you perform stress testing or implement failover protocols to ensure system robustness? | not at this point
How is the on-call management process documented and communicated within the organization? | yes
Are there specific SLAs defined for each critical step in your major incident management process, and how do you enforce them? | not at this point
How actively do you measure and enforce Service Level Objectives (SLOs) and Service Level Indicators (SLIs)? | not at this point
is there a procedure for reviewing, prioritizing, and actioning recommendations from post-mortem analyses? | yes
Are the learnings from above published, analyzed, and recorded by the service line owners | not at the time
Level 5: Optimized
Do you regularly undertake specific experiments or initiatives aimed at improving your SLAs? | Not at this moment
What techniques or approaches do you employ for conducting optimizations or experiments to refine your SLAs? | Not at this moment

## Scorecard
| Monitoring and Metrics | Emergency Response | Event Management
Service: Windows Server OS Operations | Level 2 | Level 3 | Level 2 | 2023-04-04 | Monitoring and Metrics
Service: Windows Server OS Operations
[6 empty] | What You Have | What you need
[5 empty] | Level 1 | Setting up monitoring is easy All components of the service is monitored | Consistent error detection Issue with coverage
[5 empty] | Level 2 | Automatic notification of the group via Servicenow Tickets Documented setup of monitoring for the service | Alerts need to be documented needs standards for thresholds do be published process for adding new health rules or component monitor
[5 empty] | Level 3 | Monitoring is standard across region the region | The team's proficiency with the monitoring tool needs to improve. Mechanism to catch monitoring gaps in monitoring
[5 empty] | Level 4 |  | Monitoring of Checkmk/Appd team needs to be proficient in setting up dashboards alert trending activities KPI trend reports
[5 empty] | Level 5 |  | Regular KPI trend reports analysis
Emergency Response
Service: Windows Server OS Operations
[6 empty] | What You Have | What you need
[5 empty] | Level 1 | On-call Rotation On-Call Calendat | Strenthen response times
[5 empty] | Level 2 | Atomated alertinng Escalation Protocols outage clasification and prioritization postmortem review | Document Major outage handling
[5 empty] | Level 3 | Postmortem action items is followed up
[5 empty] | Level 4 | Regural DR Failover for some applications | SLA for response is needed
[5 empty] | Level 5 |  | Experimentation exersises to imporove SLA
Event Management
Service: Windows Server OS Operations
[6 empty] | What You Have | What you need
[5 empty] | Level 1 | Escalation Path | Playbook for most of the alerts and requests Team member needs regular review of events management
[5 empty] | Level 2 | Events and Request Prioritization Writen Artifact on what is offered for this service Service Catalouge | Need a policy for unsupported request Need a policy for unsupported Events Establish a QA process on tickets fufilled
[5 empty] | Level 3 |  | QA methodology for alert setup and service offering QA methodology for alert response and service fulfillment Established KPI, SLA, SLO
Level 4
Level 5

## Answers-Windows Server Op
Artifacts | Monitoring and Metrics : Windows Server Operation
Costumers report issues rather than the monitoring tool Significant approach and tooling for monitoring layers of the service no defined and published guidelines in setting up monitoring and alerting No defined and published process setting up monitoring and alerting insufficient coverage of service components lack of a dedicated monitoring tool | How are issues for the service identified? With the current tools and know-how the team has, how difficult is it to monitor the service? Do you follow a guideline on how you identify what to Monitor in a service? Do you have a published process on how to set up monitoring? Are all the components of this service monitored? | Alerts come in based on appd and checkmk ticket; they are also reported by application owners. For appd, health rules are set and checkmk where components are automatically monitored, it's fairly easy Not that I'm aware of Yes, automatically when an item is added to checkmk and appd
Standard Documented Process for responding to alerts received Alerts are automatically routed to the correct responding team monitoring the availability of the service Process in place to capture gaps in monitoring Service Design Documents that include the monitoring of the service deployment guides for this service that include monitoring setup Threshold defined and documented for alerting actual rule creation is documented rule creation process is documented | Are there alerts received have a documented response procedure Is the right group notified when this service has an alert is there a documented guide to deploy monitoring for the service Is the threshold for this service defined and documented Is the health rule creation documented and standardized for this service is there a established process in selecting health rules Does this service have an ADB or runbook, and does it include monitoring? | not all alerts have a documented runbook yes, the right group is notified Yes, but it is not complete No, thresholds have been set but standards are not published No, the process of agreeing to new health rules or monitoring components is not set
Standardized monitoring tool across. The team is proficient in writing effective Rules and Alerts Monitoring is automatically handled as this service goes through its deployment/decommission. | Is your monitoring of this service standard across other regions? Can the team responsible for this service write health rules and notifications? Is there an exercise in place to identify gaps in monitoring? | Yes Monitoring is standard for this service is standard across region no at this point Not generally down at this level Not at this point
Capacity review for the service KPI, SLO, and SLI are defined and measured for the service Alert Calibration Activities Automated Alert | Is the health of the monitoring system monitored? Is the team able to setup dashboards for the effective monitoring of the service? Are there alert trending activities performed for the service? | Not at this point not at this point not at this point
Service Trend Reports for improvement KPI trend analysis for imporvement Automated Remediation of Common Alerts
Events and Request Management : Windows Server Operation
There is no playbook, or it is outdated and unused. Results are inconsistent. Different people do tasks differently. There is no clear escalation path Processes aren’t documented. Learnings are not captured No policy or standard in effect | Are there defined procedures for handling service events? Do tickets have consistent outcomes no matter who handles them? How many types of ticket alerts (as you estimate in percentage) depend on engineer knowledge or expertise? Do you find that necessary tools or information are often not available when responding to service events? Is the escalation clearly defined for complex service events? Or do you find yourself guessing who to contact? Are new members and existing members onboarded to the event management Policy regurally? | No, all events are documented. No, each engineer's knowhow for Novell requests is different about 50 percent for user alerts and 20 percent for tickets received. For the most part, information is available. but we do encounter events and requests that investigation for information is needed Yes, the escalation is clearly defined not at this point
The Requests and alerts for the service are classified There is a finite list of which services are supported by the team. Each end-to-end process has each step enumerated, with dependencies. The flow of events or requests is seen Handling unsupported requests is documented Handling undefined alerts is documented | is there a process in place that allows prioritization of requests and events? Can the team member enumerate what are all the events and requests for the service? How long does it typically take to complete common tasks or alert responses, and can this be predicted? do you know what to do when there is an unsupported request for the service do you know what to do when there is an undefined alert received on the service Do you get consistent results regardless of the person responding for service delivery at this layer? | Yes, alerts and events are automatically prioritized Yes they can enumerate for a true alert 15 min, for complex, 30 to an hour, for requests, NO No Close the ticket depends on the technical know how of the engineer and the nature of the request
QA methodology is established for Events and Request Handling The mechanism for process change is established and accepted Regular Review and optimization of processes are in place There is a periodic review of alerts by the affected team. There is a periodic review of alerts by a cross-functional team. | Are these end-to-end processes documented for most of the processes and events? Are the quality of close notes and close codes regularly reviewed for future occurrences? Is a Quality Assurance (QA) methodology established for handling events and requests? | No No No
SLA, SLI, KPI are defined and measured The defined SLA for request and event handling is measured. Feedback mechanisms for request and event steps are established There is a periodic review of defects and reworks. Dashboards or report data that actively measure WW, WIP and WC After process changes are made, before/after data are compared to determine success. | Are the KPI, SLI, and SLA defined for this service? Are these indicators measured? Do you know what to do when you find a fundamental defect in how this service is delivered? Does your team perform quality reviews on requests or tickets? Do you have dashboards or reports that actively measure work in progress (WIP) and other key performance indicators? when you change the process for this service, do you measure the impact? | No No Escalate to Nathan not at this poinnt Yes No
Cycle time enjoys month-over-month improvements. Active work to minimize human toil Process improvements come from a variety of sources. (code or no-code Automation) | do you have any mechanism in place that deals with continuous process improvement for monitoring this service? Are there mechanisms to promote improvements through code or process automation? Are there mechanisms in place for monitoring and implementing month-over-month improvements? | no not at this time not at this time
Emergency Response: Windows Server Operation
End users Report the outage rather than the monitoring team No on-call rotation No on-call calendar There is no playbook for various alert. | How are outages typically identified for your service layer? Are they primarily reported by end users? What percentage of outages are discovered through customer/user reports? Is there a predefined schedule or rotation for staff to handle emergencies outside of normal working hours? Do you maintain a consolidated calendar for tracking the on-call responsibilities for this service? | most of the time, we have alerting in place, but it takes time to reach those alerts I would guesstimate 50% of notifications that servers are down We are staffed 24/7 Yes, escalation for this service is on shiftwintel support
Outage classification and Prioritization Direct Notification from the Monitoring System to the responsible team on-call schedule with an escalation plan full on-call coverage on-call information is available to the organization Escalation is defined on-call covers different timezone post morterm template exsits | Do you have specific playbooks or procedures designed for managing outages for this service? How does your monitoring system alert the appropriate team when an outage occurs? Is there a formal escalation protocol for incidents that cannot be resolved within standard time frames? How do you ensure comprehensive on-call coverage, including considerations for different time zones? Are postmortem produced after a service outage? | not at this point, we rely on on-shift engineers' prudence ticket and team notification yes but it is not documented and is based on the engineer's decision yes, we are 24/7
on-call is managed and controlled postmortem is written and recommendations are followed up | How are incidents categorized and ranked in terms of severity on this service layer? Do you carry out and document post-mortem reviews using a standardized format or template? Is the process for conducting and learning from post-mortem analyses consistent and repeatable? | ITOMS and ServiceNow handle the severity of any outages not at this point Yes sometimes
SLA is actively measured SLA is defined for every step of a major incident Postmortem review has defined SLA and measured Recommendations for post-mortem action are reviewed, triaged, and implemented Mature monitoring (SLI, SLO, SLA, Comprehensive monitoring) Stress testing and failover are done regularly GameDay exercises are done and practiced periodically Monitoring in place to enforce regular failover to systems | How often are GameDay exercises or similar outage simulations conducted to test your systems? Do you have measures in place to automatically redirect workloads in case of a system failure (failover systems)? How regularly do you perform stress testing or implement failover protocols to ensure system robustness? How is the on-call management process documented and communicated within the organization? Are there specific SLAs defined for each critical step in your incident management process, and how do you enforce them? How actively do you measure and enforce Service Level Objectives (SLOs) and Service Level Indicators (SLIs)?What is the procedure for reviewing, prioritizing, and actioning recommendations from post-mortem analyses? | Yearly for some af the applications in the firm yes for some of the applications yearly every dr sysops handle on call info not at this point, have to work it out with itoms there are no sla yet for emergency response Yes
Experiments and Optimization performed to improve SLA | Do you regularly undertake specific experiments or initiatives aimed at improving your SLAs in emergency response? | No at this pont

## Action Items
Status | Action Item | Subtask | Category | Assigned to: | Estimated Hours | Due Date | Priority | Notes | issue it adress
| Get reporting setup for ticketing |  | Monitoring and Metrics |  | 2 |  |  |  | Consistent error detection
| audit the servers in checkmk/Appd |  | Monitoring and Metrics | [5 empty] | Consistent error detection
|  | List of servers in Appd prod and Non-Prod |  | Need Resource | 2
|  | List of server in checkmk |  | Need Resource | 2
|  | Audi Server List in CheckMK/AppD based on A2RM Data |  | Need Resource | 2
| Mandatory Training for Monitoring Tool |  | Monitoring and Metrics | [5 empty] | Teams proficiency with alerting needs to improve
|  | Schedule and mandatory staggard training for checkmk/AppD |  | Jeff Flores | 3
|  | mandatory staggard training for checkmk |  | Wintel | TBD
|  | mandatory staggard training for AppD |  | Wintel | TBD
| Optimize Monitoring |  | Monitoring and Metrics | [5 empty] | Consistent error detection
|  | Identify default Component in chechmk for windows server |  | Jeff Flores | 2
|  | Identify default Health Rule in chechmk for windows server |  | Jeff Flores | 2
|  | Review Health rules and tersholds in Appd |  | Wintel | 2
|  | Review Component monitoring and tresholds in checkmk |  | Wintel | 2
| Alert Documentation |  | Monitoring and Metrics | [5 empty] | Alerts need to be documented
|  | Aduit alert rule documnetation |  | Jeff Flores | TBD
| Define Process of rule creation |  | Monitoring and Metrics | [5 empty] | Alerts need to be documented
|  | Document the process of setting up alerts |  | Jeff Flores | 2
| explore a2rm reporting for appd and checkmk agents |  | Monitoring and Metrics | [5 empty] | Mechanism to catch monitoring gaps in monitoring
|  | Determine how machines with no monitoring agents and missing in the console can be determined |  | Jeff Flores | 2